## Westside - Line Item
UMC Westside Surgery Center
Current Line Item Detail
Customer Name | Campus/ Department | Manufacturer | Model Name | Description | Serial | Equipment # | Converted Current Coverage
Customer Name | Campus/ Department | Manufacturer | Model Name | Description | Serial | Equipment # | Converted Current Coverage
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Siemens Healthcare | CLINITEK Status+ | Analyzers, Laboratory, Urine, Semiautomated | 320068 | 1479198 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Siemens Healthcare | CLINITEK Status+ | Analyzers, Laboratory, Urine, Semiautomated | 314678 | 1485342 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | D-Vapor | Anesthesia Unit Vaporizers | ASNK-0188 | 1352795 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | D-Vapor | Anesthesia Unit Vaporizers | ASRE-0116 | 1616594 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | D-Vapor 3000 | Anesthesia Unit Vaporizers | ASNK-0187 | 1352788 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | D-Vapor 3000 | Anesthesia Unit Vaporizers | ASNK-0186 | 1352780 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Vapor 2000 | Anesthesia Unit Vaporizers | ASNL-1690 | 1352787 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Vapor 2000 | Anesthesia Unit Vaporizers | ASNL-1688 | 1352794 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Vapor 2000 | Anesthesia Unit Vaporizers | ASNL-1689 | 1352779 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Vapor 2000 | Anesthesia Unit Vaporizers | ASRF-0540 | 1658830 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Apollo | Anesthesia Units | 10600799849 | 1352792 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Apollo | Anesthesia Units | ASNL-0019 | 1352799 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Apollo | Anesthesia Units | 106007998623 | 1352785 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Apollo | Anesthesia Units | ASRF-0085 | 1658832 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Arthrex Inc | Synergy Resection Shaver Console | Arthroscopic Shaver Systems | EAC22098 | 1658784 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | G180 OptiVac | Aspirators, Airway | 1479027 | 1627623 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | G180 OptiVac | Aspirators, Airway | 1479062 | 1479062 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | G180 OptiVac | Aspirators, Airway | 1479037 | 1479037 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Laerdal Medical Corp | LSU | Aspirators, Airway | 78502096375 | 1616582 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Wells Johnson Co | Hercules | Aspirators, Surgical | 25960522 | 1598689 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Instruments Div Stryker Corp | System 7 Battery Charger | Battery Chargers | 1932215033 | 1616605 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | Progressa | Beds, Electric | K078AD8452 | K078AD8452 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | Progressa | Beds, Electric | R026AD2342 | R026AD2342 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | Progressa | Beds, Electric | V205AW2855 | V205AW2855 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | Progressa | Beds, Electric | U280AW5978 | U280AW5978 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | VersaCare | Beds, Electric | P272AD7309 | P272AD7309 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | VersaCare | Beds, Electric | M095AD7634 | M095AD7634 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | VersaCare | Beds, Electric | M060AD5264 | M060AD5264 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Joerns Healthcare | TRI-FLEX II | Beds, Electric, Bariatric | 4829255 | 4829255 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Joerns Healthcare | TRI-FLEX II | Beds, Electric, Bariatric | 4515805 | 4515805 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Joerns Healthcare | TRI-FLEX II | Beds, Electric, Bariatric | 5442215 | 5442215 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Joerns Healthcare | TRI-FLEX II | Beds, Electric, Bariatric | 5441993 | 5441993 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Joerns Healthcare | TRI-FLEX II | Beds, Electric, Bariatric | 5442330 | 5442330 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | SCOPELOCKER | Cabinets, Storage, Endoscope | 67366 | 1893775 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | SCOPELOCKER | Cabinets, Storage, Endoscope | 44045 | 1598686 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | SCOPELOCKER | Cabinets, Storage, Endoscope | 67365 | 1893774 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | SCOPELOCKER | Cabinets, Storage, Endoscope | 67367 | 1893776 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | SCOPELOCKER | Cabinets, Storage, Endoscope | 66908 | 1598685 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Endoscopy Div Stryker Corp | Standard Video Cart | Carts, Computer/Video Monitor | 50608001 | 1479063 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Arthrex Inc | Angel | Centrifugal Blood Cell Processors, Autologous Platelet Separation | GB3762 | GB3762 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | GI Genius | Computer-Aided Detection Systems, Image, Florescent | A001652 | 1585688 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | GI Genius | Computer-Aided Detection Systems, Image, Florescent | A002427 | 1658771 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | GI Genius | Computer-Aided Detection Systems, Image, Florescent | A001278 | 1658772 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | GI Genius | Computer-Aided Detection Systems, Image, Florescent | A001653 | 1585692 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Zoll Medical Corp | R Series ALS | Defibrillators, External, Manual | AF21E136597 | 1616552 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Zoll Medical Corp | R Series ALS | Defibrillators, External, Manual | AF22E153781 | 1598687 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CooperSurgical, Inc. | LifeDop 250 | Detectors, Blood Flow, Ultrasonic | 2016110010 | 1440536 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Edan Instruments, Inc. | EDAN SD3 ULTRASONIC POCKET DOPPLER | Detectors, Blood Flow, Ultrasonic | M20C07490009 | 1616553 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | ECQ1666 | 1479177 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | ECQ1663 | 1616568 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | ECQ1664 | 1616543 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | NSN | 1616569 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | ECQ1665 | 1616567 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | ECQ1662 | 1616544 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Natus Medical Inc | Elite 200 | Detectors, Blood Flow, Ultrasonic | ECQ1661 | 1479176 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OER-ELITE | Disinfectors, Liquid Germicide, Flexible Endoscope | 2100265 | 1479173 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OER-ELITE | Disinfectors, Liquid Germicide, Flexible Endoscope | 2100309 | 1616585 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Nanosonics | Trophon 2 | Disinfectors, Vapor Germicide, Ultrasonic Transducer Probe | 360048-002 | 1479107 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Tricor Systems | Dri-Scope Aid | Dryers, Medical Device | DS3PS-00176 | 1893772 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Tricor Systems | Dri-Scope Aid | Dryers, Medical Device | DS3P2-00168 | 1893773 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Levitron | Medical Grade Surge Protective Power Strip | Electrical Power Strips | 1479241 | 1479241 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Levitron | Medical Grade Surge Protective Power Strip | Electrical Power Strips | 1479240 | 1479240 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Levitron | Medical Grade Surge Protective Power Strip | Electrical Power Strips | 1479237 | 1479237 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Levitron | Medical Grade Surge Protective Power Strip | Electrical Power Strips | 1479238 | 1479238 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Levitron | Medical Grade Surge Protective Power Strip | Electrical Power Strips | 1479239 | 1479239 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Levitron | Medical Grade Surge Protective Power Strip | Electrical Power Strips | 1479248 | 1479248 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | FORCE FX-C | Electrosurgical Units | F1J19673A | 1479045 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Ethicon Endo-Surgery | GEN11 | Electrosurgical Units, Bipolar | 1112217070 | 1658797 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Erbe USA Inc | APC 2 | Electrosurgical Units, Monopolar, Argon-Enhanced Coagulation | 11510957 | 1479245 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Erbe USA Inc | APC 2 | Electrosurgical Units, Monopolar, Argon-Enhanced Coagulation | 11509238 | 1479244 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Erbe USA Inc | VIO 300D | Electrosurgical Units, Monopolar/Bipolar | 11511717 | 1479243 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Erbe USA Inc | VIO 300D | Electrosurgical Units, Monopolar/Bipolar | 11511124 | 1479247 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MEGADYNE | Mega Power | Electrosurgical Units, Monopolar/Bipolar | 194204001 | 1259209 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MEGADYNE | Mega Power | Electrosurgical Units, Monopolar/Bipolar | NSN | 1259206 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | KARL STORZ LITHOTRIPSY-AMERICA, INC. | Fiber Optic Light Carrier | Esophagoscopes | L05000739 | L05000739 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | HOUSEFIT | SKYLINE AQUA | Exercisers | H10025B1 | 1616561 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | PHC CORPORATION | VIP Series | Freezers, Laboratory, Ultralow Temperature, Upright | 20070991 | 1616595 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Tempure Scientific | Undercounter Vaccine Freezer | Freezers, Pharmacy, Undercounter | HQ-TP-1662873-1612 | 1479199 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Corp Medical Div | CORE 2 Console | Handpieces, Surgical | 2126001359 | 1479230 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | CORE 2 Console | Handpieces, Surgical | 2207600389 | 1598635 | Covered PM
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Clarus Medical, LLC. | Clarus Inspection Dual Control Module | Image Processors, Video | 5293 | 1658773 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Arthrex Inc | Synergy UHD4 Console | Image Processors, Video, Endoscopy | DBM210015 | 1658783 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | True HD 3MOS Camera Controller | Image Processors, Video, Endoscopy | 21032052 | 1616542 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | CV-1500 | Image Processors, Video, Endoscopy | 7456775 | 1658761 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | CV-1500 | Image Processors, Video, Endoscopy | 7458308 | 1658774 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | CV-190 | Image Processors, Video, Endoscopy | 7050358 | 1606261 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | CV-190 | Image Processors, Video, Endoscopy | 1606265 | 1606265 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | Aurora Content Management System | Information Systems, Picture Archiving/Communication, Endoscopy | CMS-0421-009C | 1479189 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | DRSHD 1080p | Information Systems, Picture Archiving/Communication, Endoscopy | 1598688 | 1598688 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Endoscopy Div Stryker Corp | CONNECTED OR HUB | Information Systems, Picture Archiving/Communication, Endoscopy | 19C583354 | 19C583354 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | UCR | Insufflators, Endoscopic | 7033290 | 1606263 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | UCR | Insufflators, Endoscopic | 7033357 | 1606270 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | UCR | Insufflators, Endoscopic | 7465839 | 1658759 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | UCR | Insufflators, Endoscopic | 7364523 | 1903634 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | 50L Abdominal Insufflator | Insufflators, Laparoscopic | 94045BFH | 1616541 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Endoscopy Div Stryker Corp | 40L CORE | Insufflators, Laparoscopic | 0702CE325 | 1479066 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OFP-2 | Irrigation/Distention Systems | 22030078 | 1479103 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OFP-2 | Irrigation/Distention Systems | 22416057 | 1658760 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OFP-2 | Irrigation/Distention Systems | 22030172 | 1479104 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Arthrex Inc | Dual Wave Arthroscopy Fluid Management | Irrigation/Distention Systems, Arthroscopic | N19411K21 | 1658785 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | Direct LED Light Source | Light Sources | 21112011 | 1479188 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Corp Medical Div | L9000 | Light Sources | 11E003454 | 1479065 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Instruments Div Stryker Corp | LIGHT SOURCE LED TURBO | Light Sources | 79947 | 79947 | Covered PM
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | CLV-190 | Light Sources, Fiberoptic | 1606264 | 1606264 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | CLV-190 | Light Sources, Fiberoptic | 7099488 | 1606269 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | HexaLux | Lights, Examination | 0217H00808318 | 1479038 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | HarmonyAIR G5 | Lights, Surgical | 421917034 | 1479049 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Hill-Rom Services, Inc. | Envision E700 Therapeutic Surface | Mattress Systems, Low-Air-Loss | 2254AD5475 | 2254AD5475 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Carl Zeiss Inc | TIVATO 700 | Microscopes, Light, Operating | 6643142703 | 1479213 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Carl Zeiss Inc | OPMI Lumera i | Microscopes, Light, Operating, Ophthalmology | 2026130 | 2026130 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity Kappa | Monitoring Systems, Physiologic | 5495879554 | 1352784 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity Kappa | Monitoring Systems, Physiologic | 5495856258 | 1352791 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity Kappa | Monitoring Systems, Physiologic | 5495878947 | 1352798 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Draeger Medical Inc. | Infinity Kappa | Monitoring Systems, Physiologic | 5496008958 | 1658831 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SN20073004SA | SN20073004SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SN1522043SA | SN1522043SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SN19333015SA | SN19333015SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SN15190123HA | SN15190123HA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SN19333011SA | SN19333011SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SN1933301SA | SN1933301SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SNE20073009SA | SNE20073009SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | CARESCAPE Monitor B450 | Monitoring Systems, Physiologic | SNE20073007SA | SNE20073007SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity Acute Care System with C700 | Monitors, Physiologic, Multipurpose, Bedside, Modular | 448357085 | 1352782 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity Acute Care System with C700 | Monitors, Physiologic, Multipurpose, Bedside, Modular | MS17277 | 1352796 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Draeger Medical Inc. | Infinity Acute Care System with C700 | Monitors, Physiologic, Multipurpose, Bedside, Modular | 463836082 | 1658829 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | COVIDIEN | HET Temperature Monitor | Monitors, Physiologic, Temperature, Bedside | HETMT2513 | 1479101 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Healthcare | MANF SERV ONLY - CARESCAPE B450 FMI 36105 | MONITORS, PHYSIOLOGIC, VITAL SIGNS | 20073007a | 1482611 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | VP4826 Monitor | Monitors, Video | D26720510016 | 1616562 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | CONMED Corporation | VP4826 Monitor | Monitors, Video | D26720510015 | 1616540 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | NDS SURGICAL IMAGING | RADIANCE ULTRA 32" SC-WU32-G1522 | Monitors, Video | 20-362503 | 1479201 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OEV321UH | Monitors, Video | 7470261 | 1658766 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | OEV321UH | Monitors, Video | 7470123 | 1658765 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Endoscopy Div Stryker Corp | VISION 240-030- | Monitors, Video | 240-030-930 | 1627516 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Barco | MDSC-8532 | Monitors, Video, High Definition | 211104 | 1658781 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Barco | MDSC-8532 | Monitors, Video, High Definition | 211104 | 1658781 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | NDS SURGICAL IMAGING | Radiance Ultra | Monitors, Video, High Definition | 22-380624 | 1658822 | Covered PM
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Heine USA Ltd | EN 100 | Ophthalmoscope/Otoscopes | 1479014 | 1479014 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Heine USA Ltd | EN 100 | Ophthalmoscope/Otoscopes | 1479024 | 1479024 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Heine USA Ltd | EN 100 | Ophthalmoscope/Otoscopes | 1479017 | 1479017 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Heine USA Ltd | EN 100 | Ophthalmoscope/Otoscopes | 1479020 | 1479020 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Heine USA Ltd | EN 100 | Ophthalmoscope/Otoscopes | 1479010 | 1479010 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Choice Medical | MD300C22 | Oximeters, Pulse | 202502901574 | 1616512 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Choice Medical | MD300C22 | Oximeters, Pulse | 202502901511 | 1616510 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Choice Medical | MD300C22 | Oximeters, Pulse | 202502901512 | 1616511 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Rennco, LLC | Lift Seal Heat Sealer 18 LS | Package Sealers | 0721-181-9930 | 1479228 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Rennco, LLC | Lift Seal Heat Sealer 18 LS | Package Sealers | 0721-181-9936 | 1479229 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | GE Medical Systems | E-MODULE FRAME | Physiologic Monitor Module Housings | E1C94599G | 1358184 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | GE Medical Systems | PDM BASE STATION PLUS | Physiologic Monitor Modules | SA312018871GA | SA312018871GA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Medical Systems | PDM BASE STATION PLUS | Physiologic Monitor Modules | SA311205440GA | SA311205440GA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Medical Systems | PDM BASE STATION PLUS | Physiologic Monitor Modules | SA3016118653SA | SA3016118653SA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Medical Systems | PDM BASE STATION PLUS | Physiologic Monitor Modules | SA308094816GA | SA308094816GA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Medical Systems | PDM BASE STATION PLUS | Physiologic Monitor Modules | SA14129299GA | SA14129299GA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | GE Medical Systems | PDM BASE STATION PLUS | Physiologic Monitor Modules | SA3081096581GA | SA3081096581GA | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity R50 Recorder | Printer/Graphic Recorders | 5271593760 | 1352789 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | Infinity R50-N | Printer/Graphic Recorders | 5271593956 | 1352797 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | R50 Universal | Printer/Graphic Recorders | 5952630 | 1352783 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Sony Electronics Inc Medical Systems Div | UP-DR80MD | Printers, Video | 741303 | 1658780 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Sony Electronics Inc Medical Systems Div | UP-DR80MD | Printers, Video | 738321 | 1479190 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Wells Johnson Co | Infiltration Pump | Pumps, Subcutaneous Infiltration | 40660422 | 1598690 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Instruments Div Stryker Corp | RF MULTIGEN | RADIOFREQUENCY GENERATOR | 2132720069 | 1606393 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Arthrex Inc | Synergy RF Console | Radiofrequency Therapy Systems, Tissue Ablation, Intraarticular | JAC22015 | 1658782 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Corp Medical Div | MultiGen 2 | Radiofrequency Therapy Systems, Tissue Ablation, Nerve Fiber | 2132720069 | 1406393 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | GE Healthcare | Optima XR240amx | Radiographic Units, Mobile | DF2402100403WK | 1479216 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | GE Healthcare | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | FBHXTX00418 | 1585513 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | GE Healthcare | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | FBXXTE00866 | 1633315 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | GE Medical Systems | OEC Elite MiniView | Radiographic/Fluoroscopic Units, Mobile, Extremity | BB5SU2100153HL | 1598638 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | NIM-Response 3.0 | Recorders, Physiologic, Evoked Potential | INR3-1612 | 1658834 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Medtronic Inc | NIM-Response 3.0 | Recorders, Physiologic, Evoked Potential | 1NR3-3210 | 1NR3-3210 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Medtronic Inc | NIM-Response 3.0 | Recorders, Physiologic, Evoked Potential | 1NR3-0073 | 1NR3-0073 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MC APPLIANCE CORPORATION | Magic Chef Mini Refrigerator | Refrigerators | 1710001279 | 1440525 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | ARCTIC KING | AFRM026AEB | Refrigerators, Blood Bank | D80-25759801 | 1440521 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Hamilton Beach Brands, Inc. | REFHB43B | Refrigerators, Pharmacy | 1931122745 | 1440520 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1440512 | 1440512 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1440552 | 1440552 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1440550 | 1440550 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1440513 | 1440513 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1482606 | 1482606 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1358181 | 1358181 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1358179 | 1358179 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1358180 | 1358180 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1482607 | 1482607 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 1479015 | 1479015 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron | Regulators, Suction | 20170203 | 1479012 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Allied Healthcare Products, Inc. | Vacutron Continuous/Intermittent Suction Regulator | Regulators, Suction | 1440560 | 1440560 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | MP00686 | Regulators, Suction | ASNK-0040 | 1352793 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Draeger Medical Inc. | MP00686 | Regulators, Suction | ASNK-0037 | 1352781 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Draeger Medical Inc. | Vacuum Suction DISS | Regulators, Suction | ASRE-0083 | 1658835 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454290 | 1454290 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454289 | 1454289 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1479025 | 1479025 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454296 | 1454296 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454284 | 1454284 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1479055 | 1479055 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454294 | 1454294 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454291 | 1454291 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454287 | 1454287 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454286 | 1454286 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 20170203 | 1479018 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1479035 | 1479035 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454285 | 1454285 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1479021 | 1479021 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454295 | 1454295 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1479054 | 1479054 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454288 | 1454288 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454293 | 1454293 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1454292 | 1454292 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Vacutron | Unknown | Regulators, Suction | 1479031 | 1479031 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Adam Equipment Inc. | LBX 30 | Scales, Clinical, Laboratory | AEA9Y2683 | 1616592 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Health Care Logistics Inc. | HRX320i | Scales, Clinical, Laboratory | H13204539 | 1479236 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Detecto - A Division of Cardinal Scale Manufacturing Co. | Wet Diaper Scale | Scales, Clinical, Precision | E35121-0074 | 1616606 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Rice Lake Weighing Systems | SB-1150 | Scales, Patient | 120721C240899 | 1658821 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Rice Lake Weighing Systems | Digital Physician Scale | Scales, Patient, Floor | 032320C209109 | 1616604 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Rice Lake Weighing Systems | Digital Physician Scale | Scales, Patient, Floor | 112619C198902 | 1479175 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Siemens Healthcare | SOMATOM Plus | Scanning Systems, Computed Tomography | 400-676697 | 1479057 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Verathon Medical | PRIME PLUS | Scanning Systems, Ultrasonic, Small-Parts, Urinary Bladder | C1524084 | 1564587 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Celerity 20 HP | Sterilization Process Indicators, Biological | VH0125420011 | 1616589 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Celerity 20 HP | Sterilization Process Indicators, Biological | CS0100421280 | 1616590 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | V-PRO maX | Sterilizing Units, Germicidal Vapor | 31092103 | 1616588 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Amsco 400 Series | Sterilizing Units, Steam | 32411744 | 1479039 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Avanos | MiniStim | Stimulators, Electrical, Peripheral Nerve | 9711 | 1658767 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Sun-Med | SunStim | Stimulators, Electrical, Peripheral Nerve, Block Monitoring | S0050692 | 1616596 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Corp Medical Div | Atlas 600Z (with Zoom Drive) | Stretchers, Mobile, Hospital | 0806-106911 | 1479028 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 1511039460 | 1511039460 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2019006201730 | 2019006201730 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201401 | 2017006201401 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2019006201733 | 2019006201733 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2019006201724 | 2019006201724 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2019006201735 | 2019006201735 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 1703033308 | 1703033308 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201252 | 2017006201252 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201382 | 2017006201382 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 1511039452 | 1511039452 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201251 | 2017006201251 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2019006201725 | 2019006201725 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201265 | 2017006201265 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201248 | 2017006201248 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201247 | 2017006201247 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 2017006201250 | 2017006201250 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime 5th Wheel 1105 | Stretchers, Mobile, Hospital | 1511039385 | 1511039385 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Corp Medical Div | Prime Big Wheel 1115 | Stretchers, Mobile, Hospital | 2022006802850 | 2022006802850 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker CORP SURGICAL DIV | SM104 WITH 5TH WHEEL | Stretchers, Mobile, Hospital | 901033902 | 901033902 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker CORP SURGICAL DIV | SM104 WITH 5TH WHEEL | Stretchers, Mobile, Hospital | 811101194 | 811101194 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker CORP SURGICAL DIV | SM104 WITH 5TH WHEEL | Stretchers, Mobile, Hospital | 804105879 | 804105879 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker CORP SURGICAL DIV | SM104 WITH 5TH WHEEL | Stretchers, Mobile, Hospital | 901034044 | 901034044 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker CORP SURGICAL DIV | SM104 WITH 5TH WHEEL | Stretchers, Mobile, Hospital | 901033901 | 901033901 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker CORP SURGICAL DIV | SM104 WITH 5TH WHEEL | Stretchers, Mobile, Hospital | 808100720 | 808100720 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | BRUMABA USA | PRIMUS | Tables, Operating | P2021 | 1616593 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Mizuho OSI | Trios Surgical Table System | Tables, Operating | 2306 | 1479218 | Covered PM
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | SKYTRON | 3503 EZ Slide | Tables, Operating | SUT-20232-1076 | 1658969 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Amsco 3085 SP | Tables, Operating | 423017004 | 1479048 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | MU-1 | Testers, Endoscope, Leak/Fluid Detection | 7060846 | 1482661 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | MU-1 | Testers, Endoscope, Leak/Fluid Detection | 7172312 | 1479099 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Olympus America | MU-1 | Testers, Endoscope, Leak/Fluid Detection | 7172375 | 1479100 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | SureTemp Plus 690 | Thermometers, Electronic | 20411892 | 1627511 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | SureTemp Plus 692 | Thermometers, Electronic | 20246522 | 1460046 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | SureTemp Plus 692 | Thermometers, Electronic | 20278602 | 1460045 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | SureTemp Plus 692 | Thermometers, Electronic | 17374878 | 1368465 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | SureTemp Plus 692 | Thermometers, Electronic | 20278594 | 1460048 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | SureTemp Plus 692 | Thermometers, Electronic | 20246667 | 1460047 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Extech Instruments Corp | IR200 | Thermometers, Electronic, Infrared, Skin | 200403409 | 1616600 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Extech Instruments Corp | IR200 | Thermometers, Electronic, Infrared, Skin | 200403427 | 1616597 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Extech Instruments Corp | IR200 | Thermometers, Electronic, Infrared, Skin | 200403433 | 1616601 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Extech Instruments Corp | IR200 | Thermometers, Electronic, Infrared, Skin | 200403432 | 1616602 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Extech Instruments Corp | IR200 | Thermometers, Electronic, Infrared, Skin | 200403408 | 1479242 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Extech Instruments Corp | IR200 | Thermometers, Electronic, Infrared, Skin | 200403436 | 1616603 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MEDSOURCE INTERNATIONAL | Non-Contact Infrared Thermometer IR 300 | Thermometers, Electronic, Infrared, Skin | 2011002BA29595 | 1479092 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MEDSOURCE INTERNATIONAL | Non-Contact Infrared Thermometer IR 300 | Thermometers, Electronic, Infrared, Skin | 2011002BA3369 | 1479090 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MEDSOURCE INTERNATIONAL | Non-Contact Infrared Thermometer IR 300 | Thermometers, Electronic, Infrared, Skin | 2011002BA31549 | 1479091 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | MEDSOURCE INTERNATIONAL | Non-Contact Infrared Thermometer IR 300 | Thermometers, Electronic, Infrared, Skin | 2011002BA31955 | 1479093 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Instruments Div Stryker Corp | SmartPump Dual Channel | Tourniquets, Pneumatic | 2110205003 | 1616581 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Welch Allyn Inc | KleenSpec | Transilluminators | 71140 | 1440538 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Instruments Div Stryker Corp | 1488 HD | Video Systems, Endoscopic | 13L018204 | 1479064 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Post Glover/LifeLink Inc. | WALL | View Boxes, X-Ray, Motorized | 1479052 | 1479052 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Medline Industries Inc | Comforttemp | Warming Units | C940034479 | 1658763 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Medline Industries Inc | Comforttemp | Warming Units | C940034434 | 1658762 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | O.R. Solutions, Inc. | ORS-2066R | Warming Units, Blood/Intravenous Solution | 64336 | 1479246 | Covered ES
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Mallinckrodt Inc | Ready-Box | Warming Units, Contrast Media | CI1005Q064 | 1440559 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Amsco DJ030124131 | Warming Units, Multipurpose | O4423717009 | 1440531 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Amsco QDJ Series | Warming Units, Multipurpose | 104178950080 | 1440509 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Amsco Warming Cabinet | Warming Units, Multipurpose | 424922044 | 1658820 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | 3M Health Care | Bair Hugger 505 | Warming Units, Patient, Forced-Air | 62623 | 1479046 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Corp Medical Div | Mistral-Air Plus | Warming Units, Patient, Forced-Air | 211035838 | 1598746 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | Amsco 3052 | Washer/Decontamination Units | 3625417008 | 1479040 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | STERIS Corp | InnoWave PCF Sonic Irrigator | Washers, Labware/Surgical Instrument, Ultrasonic | 2213324505 | 1352890 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker CORP SURGICAL DIV | Neptune 3 Ultra Rover | Waste-Disposal Units, Liquid | 1720527143 | 1479047 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Non Hospital Owned/Rental/Loaner ASC | Stryker Instruments Div Stryker Corp | Neptune Docking Station | Waste-Disposal Units, Liquid | 1717101743 | 1598640 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | Stryker Instruments Div Stryker Corp | Neptune S Rover | Waste-Disposal Units, Liquid | 2301121673 | 1617363 | Covered PM Repair
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | WATTS PURE WATER | FLECK 2900NXT | Water Purification Systems | 2472 | 1533255 | Not Covered
UMC Westside Surgery Center | 179591-UMC Westside Surgery Center-Ambulatory Surgery Center West UMC | WATTS PURE WATER | FLECK 2900NXT | Water Purification Systems | 1627589 | 1627589 | Covered PM Repair